## Overview (hidden)
NTT Global Data Centres EMEA
1.8 Risk Register
The Principle documents to facilitate the identification, recording and assessment of
risks are the risk Registers they detail all significant risks.
Risks are initially identified by the department managers. These are then critically
analysed by the managers and passed for review to the BRM Committee and
awareness by the SMT.
The identification of risks is set against the following criteria - any and all risks identified
or with the potential to impact the business must be recorded.
Risks are assessed according to their potential impact if left unmitigated and
likelihood of occurrence using the 5 by 5 scoring risk matrix tab.
The risk stratergy clarifies the organisations appetite for the risk discussed, they may
accept the risk, implement a mitigation stratergy or transfer the risk as it belongs to a
customer or other party.
The highest risks from all departments are consolidated by the Principal Enginer into a
company risk register, and the top items reviewed monthly by the SMT and the top 30
items shall be reviewed quarterly.

## Risk Register
1
Risk ID | Risk Status | Date of Register | Closing Remarks | Last Review | Executive Management Ownership | Department | Principal Risk Impacted | Sub Risk Impacted | Risk Category | Risk Name | Risk Description | Risk Consequence(s) | Risk Identified by | Operational Ownership | GDC EMEA Affected Country | GDC EMEA Affected Site | Affected Building | Risk Reach | Risk Impact | Risk Probability | Spalte1 | Risk Score (Inherent) | Strength of Mitigation Controls | Spalte2 | Risk Score after Controls (Residual) | Risk Treatment Strategy | Can this be fixed within 20 working Days? Yes/No | Mitigation Name (action) | Mitigation Description (Proposed actions to reduce risk) | Mitigation Responsible | Mitigation Status | Mitigation Costs | Investment Committee Number | Remarks | Risk Trend | Remarks | Remarks2 | Remarks3 | Remarks4 | Remarks5 | Remarks6 | Spalte9
9 | Active | 2020-08-10 |  | 2022-07-12 | SVP Design, Construction & Operations | ELT/Tec Ops/Data Center Operations | PR05: Fit for Purpose Technology and Infrastructure | PR05.18: Environmental contamination | Operational | Risk of environmental contamination due to glycol leakage | [7 empty] | Limited risk exposure to operations, services and clients within a single country in region. | Major | Less Likely | Major:Less Likely | High (8) | Managed Controls in Place | Major:Less Likely:Managed Controls in Place | Low (2) | Treat | No | Monitor further development | Several detectors (monitored via BMS) have been installed. Several valves have been changed |  | Completed |  |  | Further monitoring is necessary, regulary control of the valves is mandatory to avoid further incidents. |  |  | in Abstimmung mit DC-Experts / Wrong planing of NTT Construction Terminplanung für ersten Test liegt vor ( SAB ) Beginnend BT-B. Ertüchtigung eines Probegenerators BT-B-NEA1-Geno1 am 06.10.2021 im Zuge der Wartung. 12h Probelauf am 19.10.2021 | 12h test run after optimisation of cable laying registered for 19.10.2021 | Open | Test run BT-B-NEA1-Geno1 was cancelled by K.-U. Gierth at 12:00 on 19.10.2021. Cable routing must be changed (EMC), bracket clamps must be renewed, load switching cabinet needs ventilation (gets hot). New scheduling planned. | Test run BT-B-NEA1-Geno1 18.11.2021
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Unique reference ID for the Risk
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: a) Identified b) Active c) Closed d) Accepted e) Occured
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Date when Risk was first Identified
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The date the Risk was closed and reason for closing
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Date when Risk was last reviewed
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Functional Ownership (EMT member)
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The Principal Risk to which the risk relates (Select "Independent Risk" if the risk does not relate directly to a Principal Risk). Explanations can be found in the Principal Risks folder
Note on I2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The Sub Risk to which the risk relates (Select "Independent Risk" if the risk does not relate directly to a Principal Risk). Explanations can be found in the Principal Risks folder
Note on J2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please select category: Financial, Compliance, Operational, Strategic
Note on K2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Simple but understandable title for the Risk
Note on L2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Description of the Risk event, what is the reason for the Risk?
Note on M2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Description of the Risk consequences (i.e., what does this Risk mean for our business or operations and what is the impact when occuring)
Note on N2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Risk identified by
Note on O2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The responsible operational ownership for handling a risk always lies with the manager in whose organizational area of responsibility the risk arose
Note on P2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please select country
Note on Q2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Site short name, FRA1 as example
Note on R2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: A as example
Note on T2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The potential impact the Risk could have on the business if it would occur
Note on U2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The probability that the Risk may occur
Note on W2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The result of the evaluation, damage x probability of occurrence, mapped in the Risk Matrix
Note on X2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The strength of controls in place to mitigate the Risk
Note on Z2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Residual Risk after consideration of Mitigation Controls
Note on AA2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Based on the residual risk score, the treatment strategy for the Risk needs to be defined.
Note on AB2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Simple Yes or No
Note on AC2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Simple but understandable title for the Mitigation action
Note on AD2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Description of the Mitigation
Note on AE2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Person who is responsible for the mitigation implementation
Note on AF2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: a) Not started b) In Planning c) In Progress d) Completed
Note on AJ2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The trend of the Risk over time

## Consequence meaning
Example rating scale for risk likelihood - initiatives and systems
The following rating scale considers the likelihood that a specific risk will occur and can be used in the assessment of likelihood for both operational initiatives and facility systems.
Probability scale | Criteria | Description
Certain | >75% | Occurrence is certain; within next 12 months
Likely | 51 - 75% | Occurrence is likely; 1 time in 1 - 3 years
Possible | 26 - 50% | Occurrence is possible; 1 time in 3 - 5 years
Less Likely | 6 - 25% | Occurrence is less likely; 1 time in 5 - 10 years
Unlikely | 0 - 5% | Occurrence is unlikely; less than 1 time in 10 years
Example rating scale for risk consequence - initiatives
The following rating scale considers the resultant impact on the business should a risk occur and can be used in the assessment of consequence for Operational initiatives. If multiple impacts could occur with different consequence ratings then the most critical impact should be selected as the overall rating to ensure appropriate management of the risk.
Consequence scale
| 1 | 2 | 3 | 4 | 5
Type of impact | Insignificant | Minor | Moderate | Major | Extreme
Financial Consequences | <€10k | >€10k - €100k | €100k - €1m | €1m - €10m | >€10m
Impact to time | Accept (ACC) | Either accept or Long Term Action (LTA) >36 month | Mid Term Action (MTA) 12-36 month | Short Term Action (STA) 6-12 month | Immediate Action (IAC) immediate to 6 month
Impact to scope | Minor change in operational requirements | Change in operational requirements | Change in multiple operational requirements | Change in any of the critical operational requirements | Major change in any of the critical operational requirements
Reputational Consequences | Isolated complaint/event. No media inquiry | Number of complaints and/or clients affected. Receiving local adverse publicity | Multiple widespread complaints and/or clients affected. Adverse media interest/exposure is likely to be limited in duration | Complaints across region or world. Significant or sus-tained adverse publicity effecting client confidence | Sustained nationwide or global media exposure with significant and lasting public/client out-rage/dissatisfaction. Group notification necessary
H&S Consequences | Injury requiring no more than First Aid treatment (e.g., minor cuts or burns, bruises) | Minor injury requiring medical treatment – no loss work time (MTC) | Serious compensable injury resulting in lost work time (LTI) | Permanent impairment or permanent disability due to injury, Severe injury requiring non-routine medical treatment or hospitalisation. | One or more fatalities, or multiple major injuries
Environmental Consequences | Insignificant spill inside contained area or exhaust emission | Minor regulatory violation without fine or environmental damage | Moderate local environmental impact, contained to once off remediation requirement. | Major offsite environmental impact. Significant clean up, remediation or compensation measures requiring significant resources to rectify | Severe environmental impact. Large public concern, requiring extensive clean-up and ongoing remediation
Technical Operational Consequences | No impact on critical or essential system function-ality | Reduced system redundancy but still at or above minimum levels (e.g., N+1) | Loss of minimum redundancy or loss of essential system functionali-ty (at N) | Loss of critical system availa-bility (below N, possible load loss) | Total system failure (e.g., all loads lost)
Legal/ Compliance Consequences | Event unlikely to attract regulatory response or claim. Notification of authorities unlikely to result in action. | A minor breach, which may incur a non-compliance or improvement notice. Notifica-tion necessary and visit from authorities likely. | A breach of regulations, or negli-gence. Notices/claim issued with the likelihood of limited prosecu-tion or civil action. | A major breach of regulations, or negligent act. Investigation by authorities. Likelihood of prosecution or civil action. | A serious wilful breach of regulations, or negligence. Likelihood of suspension of business. Directors/public officers likely to be prosecuted or named in civil action
Property Consequences | No material damage to facilities and other physical infrastructure | Minor damage to facilities and other physical infrastructure | Moderate damage to facilities and other physical infrastructure | Mayor damage to facilities and other physical infrastructure | Extreme damage to facilities and other physical infrastructure

## Risk Matrix
Risk Impact (Consequence)
|  | Insignificant (1) | Minor (2) | Moderate (3) | Major (4) | Extreme (5)
Risk Probability | Certain (5) | MEDIUM (5) Specific country responsibility and actions | MEDIUM 10) Specific country responsibility and actions | Critical (16) Immediate country, EMEA & senior management review | Critical (20) Immediate country, EMEA & senior management review | Critical (25) Immediate country, EMEA & senior management review
| Likely (4) | MEDIUM (4) Specific country responsibility and actions | MEDIUM (8) Specific country responsibility and actions | HIGH (12) Monthly country, EMEA & senior management review | Critical (16) Immediate country, EMEA & senior management review | Critical (20) Immediate country, EMEA & senior management review
| Possible (3) | LOW (3) Accept the risk. Routine Management | MEDIUM (6) Specific country responsibility and actions | HIGH (9) Monthly country, EMEA & senior management review | HIGH (12) Monthly country, EMEA & senior management review | Critical (15) Immediate country, EMEA & senior management review
| Less Likely (2) | LOW (2) Accept the risk. Routine Management | MEDIUM (4) Specific country responsibility and actions | MEDIUM (6) Specific country responsibility and actions | HIGH (8) Monthly country, EMEA & senior management review | HIGH (10) Monthly country, EMEA & senior management review
| Unlikely (1) | LOW (1) Accept the risk. Routine Management | LOW (2) Accept the risk. Routine Management | MEDIUM (3) Specific country responsibility and actions | MEDIUM (4) Specific country responsibility and actions | HIGH (5) Monthly country, EMEA & senior management review

## Principal Risks
Prrincipal ID | Risk Category | Principal Risk | Description | Sub ID | Sub Risk | Cause
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.01 | Economic Disruption | Global or local economic disruption and uncertainty leads to adverse trading conditions that can reduce client spendings | PR01.01: Economic Disruption
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.02 | Cost Base | Failure to adequately manage the cost base results in higher cost of sales reducing competitiveness. | PR01.02: Cost Base
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.03 | Increasing Competition | Increasing strenght of competitors and loss of sales opportunities | PR01.03: Increasing Competition
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.04 | Loss of a client | Loss of one or more existing clients | PR01.04: Loss of a client
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.05 | Exchange rate | Loss of profit due to future exchange rate developments (exchange rate uncertainty) | PR01.05: Exchange rate
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.06 | Non-payment of a client | Due to insolvency, a client can no longer meet its financial obligations | PR01.06: Non-payment of a client
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.07 | Economic downturn | General slowdown in economic activity | PR01.07: Economic downturn
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.08 | Liquidity risk | Risk of not being able to procure the funds required to settle liabilities | PR01.08: Liquidity risk
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.09 | Taxes | Loss of profit due to changes in tax legislation | PR01.09: Taxes
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.10 | Corporate investments | Fall of investments market value below book value | PR01.10: Corporate investments
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.11 | Interest rates | Increasing interest rates for refinancing funds | PR01.11: Interest rates
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.12 | Increasing raw material prices | Loss of profit due to rising and highly fluctuating commodity prices | PR01.12: Increasing raw material prices
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.13 | Depreciation | Unexpected write-downs of assets | PR01.13: Depreciation
PR01 | Financial Risk | Erosion of Profit and Operating Margin | Failure to achieve projected growth and revenue targets and effectively manage our operating and delivery models and associated cost base. | PR01.14 | Political risk | Political risk that affect the sale of products or the operation of sites | PR01.14: Political risk
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.01 | Legacy Technology & Systems | Unsupported technology and systems do not receive patches for identified vulnerabilities. (Altsysteme) | PR02.01: Legacy Technology & Systems
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.02 | Threat Modelling | Due to development of new threats, failure to futurly identify the most likely threats and attack scenarios to the IT estate. (Zukunft) | PR02.02: Threat Modelling
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.03 | Security Visibility Controls | Risk of unmitigated and unidentified security threats and vulnerabilities in our IT infrastructure. (Lücken) | PR02.03: Security Visibility Controls
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.04 | Vulnerability Management | Incomplete, ineffective or lack of a vulnerability management governance programme (missing controls), covering as a minimum, patching regimes and system hardening. | PR02.04: Vulnerability Management
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.05 | End of Life Systems | Failure to maintain information system security. Lack of governance around the hardware, operating system and installed software management life-cycle that supports our business systems. | PR02.05: End of Life Systems
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.06 | Internet Facing Systems | Failure to implement appropriate mitigating controls on Internet exposed systems. Lack of governance around the lifecycle of Internet Facing Systems to ensure an application, system or service is secure and minimise exposure from the internet. | PR02.06: Internet Facing Systems
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.07 | Malicious Damage/Fraud | Risk of Malicious Damage/Fraud of our information, technology, systems and platforms. | PR02.07: Malicious Damage/Fraud
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.08 | Theft (Internal/External) | Risk of theft of devices and (confidential) information. | PR02.08: Theft (Internal/External)
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.09 | Unauthorised Access | Risk of unauthorised access to our information, technology, systems and platforms. | PR02.09: Unauthorised Access
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.10 | Unable to Access | Risk of unavailability of our information, technology, systems and platforms. | PR02.10: Unable to Access
PR02 | Strategic | Cyber Threats (IT Risks) | Failure to ensure that our information, technology, systems and platforms are protected against unauthorized access, disclosure, loss, misuse or damage. | PR02.11 | Accidential Loss/Damage | Risk of an Accidential Loss/Damage of our information, technology, systems and platforms. | PR02.11: Accidential Loss/Damage
PR03 | Strategic | Data Privacy and Protection | Failure to ensure that personal data is processed in a transparent, fair and lawful way. | PR03.01 | Visibility of Data Landscape | Risk that personal data is being stored and/or processed in unauthorised locations within our data landscape. | PR03.01: Visibility of Data Landscape
PR03 | Strategic | Data Privacy and Protection | Failure to ensure that personal data is processed in a transparent, fair and lawful way. | PR03.02 | Understanding of Data Privacy Regulatory Landscape | The collective responsibility to comply with data privacy regulation, and understanding of data privacy regulation is not well-established. | PR03.02: Understanding of Data Privacy Regulatory Landscape
PR03 | Strategic | Data Privacy and Protection | Failure to ensure that personal data is processed in a transparent, fair and lawful way. | PR03.03 | Data Protection & Privacy Impact Assessments | Risk impact assessments are not performed when implementing IT changes. Failure to complete adequate data protection & privacy impact assessments. | PR03.03: Data Protection & Privacy Impact Assessments
PR03 | Strategic | Data Privacy and Protection | Failure to ensure that personal data is processed in a transparent, fair and lawful way. | PR03.04 | Data Protection Commitments | Non comply with Group Policy on contracting positions with respect to data protection and privacy. | PR03.04: Data Protection Commitments
PR04 | Strategic | Environmental Management | Failure to ensure we adopt and implement business practices that support environmental sustainability and reporting. | PR04.01 | Understanding of Environmental Regulatory Landscape | Failure to identify, assess and manage our environmental regulatory obligations. | PR04.01: Understanding of Environmental Regulatory Landscape
PR04 | Strategic | Environmental Management | Failure to ensure we adopt and implement business practices that support environmental sustainability and reporting. | PR04.02 | Sustainability Strategy | Lack of formalized environmental strategy, resources and ownership. | PR04.02: Sustainability Strategy
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.01 | Ineffective Product Design | Risk to not anticipate client requirements by failure to design products and services in line with the market's baseline standards for competing. | PR05.01: Ineffective Product Design
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.02 | Value Capture | Risk of ineffective management of talent and assets. Failure to bring together our technology platforms, infrastructure and people capabilities to deliver differentiated and competitive services to clients. | PR05.02: Value Capture
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.03 | Legacy Technology Platforms & Infrastructure | Risk to not evolve the infrastructure required to achieve GDC EMEA's strategic objectives and approach. | PR05.03: Legacy Technology Platforms & Infrastructure
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.04 | Changes in Competitive Landscape | Failure to recognize and assess GDC EMEA's position in emerging niche areas. | PR05.04: Changes in Competitive Landscape
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.05 | Natural/Environmental disaster | Risk of damage/destruction to our infrastructure due to a Natural/Environmental disaster. | PR05.05: Natural/Environmental disaster
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.06 | Terrorism | Risk of damage/destruction to our infrastructure due to a terrorist attack. | PR05.06: Terrorism
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.07 | Physical Security | Operations or our infrastructure can be affected by external or internal attacks due to missing or inadequate protective measures | PR05.07: Physical Security
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.08 | Maintenance | Maintenance intervals that are insufficient or deviate from the manufacturer's recommendations | PR05.08: Maintenance
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.09 | Machine breakdown | Failure or breakdown from a machine or technical device | PR05.09: Machine breakdown
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.10 | Fire Protection Systems | Risk of fire break out due to uncorrect operating Fire Protection Systems | PR05.10: Fire Protection Systems
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.11 | External data center supply (Water/Energy/Data/etc.) | Due to several reasons the external supply is interrupted | PR05.11: External data center supply (Water/Energy/Data/etc.)
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.12 | Critical Cooling Systems | Failure or breakdown from a Critical Cooling System | PR05.12: Critical Cooling Systems
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.13 | Standby Emergency Power | Failure or breakdown due to uncorrect operating Standby Emergency Power | PR05.13: Standby Emergency Power
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.14 | Uninteruptable Power Supply | Failure or breakdown due to uncorrect operating Electrical Power Distribution | PR05.14: Uninteruptable Power Supply
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.15 | Electrical Power Distribution | Failure or breakdown due to uncorrect operating Uninteruptable Power Supply | PR05.15: Electrical Power Distribution
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.16 | Life Safety Systems | Risk due to uncorrect operating Life Safety Systems | PR05.16: Life Safety Systems
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.17 | Building Management System | Risk due to uncorrect operating Building Management System | Risk of nvironmental pollution due to uncorrect operating technology/procedures
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.18 | Environmental contamination | Risk of environmental contamination due to uncorrect operating technology/procedures
PR05 | Strategic | Fit for Purpose Technology and Infrastructure | Failure to design, build, deploy, deliver and maintain technologies and infrastructure that empowers our people, clients and communities. | PR05.19 | Danger for health and life | Risk of danger for health and life
PR06 | Strategic | People, Talent and Culture | Failure to effectively integrate diverse cultures, values and norms and build and secure our human capital capability. | PR06.01 | Attraction of Talent | Lack of attractiveness and thus a bottleneck risk for recruiting new employees. | PR06.01: Attraction of Talent
PR06 | Strategic | People, Talent and Culture | Failure to effectively integrate diverse cultures, values and norms and build and secure our human capital capability. | PR06.02 | Retention of Talent | Unfavourable working conditions lead to more frequent/longer than average absenteeism. | PR06.02: Retention of Talent
PR06 | Strategic | People, Talent and Culture | Failure to effectively integrate diverse cultures, values and norms and build and secure our human capital capability. | PR06.03 | Exit of Talent | Exit risk and consequent loss of top performers | PR06.03: Exit of Talent
PR06 | Strategic | People, Talent and Culture | Failure to effectively integrate diverse cultures, values and norms and build and secure our human capital capability. | PR06.04 | Physical safety from accidents | Inadequate safety precautions | PR06.04: Physical safety from accidents
PR06 | Strategic | People, Talent and Culture | Failure to effectively integrate diverse cultures, values and norms and build and secure our human capital capability. | PR06.05 | Lack of communication | Unclear or missing staff communication | PR06.05: Lack of communication
PR07 | Strategic | Conduct, Ethics and Integrity | Failure to conduct business ethically, securely and responsibly may erode our brand and reputation. | PR07.01 | Ethical Business | Unethical and non responsible manner when designing and delivering products and services to the market. | PR07.01: Ethical Business
PR07 | Strategic | Conduct, Ethics and Integrity | Failure to conduct business ethically, securely and responsibly may erode our brand and reputation. | PR07.02 | Fraudolent behaviour | Financial crime through violation of laws/policies (e.g. anti-bribery and corruption, conflicts of interest, anti-money laundering, anti-competitive behaviour, insider trading). | PR07.02: Fraudolent behaviour
PR07 | Strategic | Conduct, Ethics and Integrity | Failure to conduct business ethically, securely and responsibly may erode our brand and reputation. | PR07.03 | Professional Misconduct | Professional misconduct (e.g. sexual harassment, diversity, inclusion and transparency). | PR07.03: Professional Misconduct
PR07 | Strategic | Conduct, Ethics and Integrity | Failure to conduct business ethically, securely and responsibly may erode our brand and reputation. | PR07.04 | Theft | Risk of theft by own or external employees | PR07.04: Theft
PR08 | Operational | Third Party Management | Failure to effectively procure, manage and maintain third party relationships that are integral to our ability to meet and compete in the market. | PR08.01 | Strategic Partner Dependencies | Risk due to changing Governance and ethical pressures | PR08.01: Strategic Partner Dependencies | Lack of integrated and effective Third Party Management Framework and Practices with relevant training and communications across GDC EMEA. Increasing risk due to changing Governance and ethical pressures related to association with third parties (enforcement actions, corruption, publicity on social media).
PR08 | Operational | Third Party Management | Failure to effectively procure, manage and maintain third party relationships that are integral to our ability to meet and compete in the market. | PR08.02 | Management Partner Dependencies | Failure to effectively manage our strategic third party relationships. | PR08.02: Management Partner Dependencies | Market changes and dynamics that lead to disruption and competition by strategic partners and vendors. Increased use of and reliance on third parties across the value chain, including upstream vendors, downstream vendors, supply chain and end-user services.
PR08 | Operational | Third Party Management | Failure to effectively procure, manage and maintain third party relationships that are integral to our ability to meet and compete in the market. | PR08.03 | Third Party Risk | Failure to identify, onboard and manage third parties (partners, vendors, affiliates, contractors) effectively. | PR08.03: Third Party Risk | Business operations across multiple regulatory regimes (cross border activities) lead to increased regulation and compliance and associated responsibility for third parties (e.g. sanction control).
PR09 | Operational | Business Continuity and Disaster Recovery | Failure to have designed, communicated and stress tested an effective business continuity plan. | PR09.01 | Business Continuity | Risk of failure to maintain business continuity and restore it after a disruption due to the lack of regularly validated Business Continuity Plans (BCP). | PR09.01: Business Continuity
PR09 | Operational | Business Continuity and Disaster Recovery | Failure to have designed, communicated and stress tested an effective business continuity plan. | PR09.02 | Crisis Management | Risk of failure to respond to a crisis situation due the lack of regularly validated Crisis Management plans and procedures. | PR09.02: Crisis Management
PR10 | Operational | Commercial and Contracting Compliance | Failure to effectively negotiate, model, review, record and manage commercial contracts in accordance with the relevant commercial and legal playbooks and associated policies when selling (or buying) products and services. | PR10.01 | Contractual Agreement Exposure | A failure to apply the legal and commercial positions as defined within the NTT Ltd Group Client Contracting Legal Policy and related processes and documents. | PR10.01: Contractual Agreement Exposure
PR10 | Operational | Commercial and Contracting Compliance | Failure to effectively negotiate, model, review, record and manage commercial contracts in accordance with the relevant commercial and legal playbooks and associated policies when selling (or buying) products and services. | PR10.02 | Visibility of Commercial Agreements | Risk resulting from a lack of oversight of existing non-standard contracts that have been entered into. | PR10.02: Visibility of Commercial Agreements
PR11 | Operational | Regulatory Change and Compliance | Failure to identify, assess and manage regulatory change and ensure that we comply with our legal and regulatory obligations. | PR11.01 | Understanding of Regulatory Landscape | Risk to identify, assess and manage our regulatory obligations holistically. | PR11.01: Understanding of Regulatory Landscape
PR11 | Operational | Regulatory Change and Compliance | Failure to identify, assess and manage regulatory change and ensure that we comply with our legal and regulatory obligations. | PR11.02 | Regulatory Impact Assessments | Risk of failure to complete adequate regulatory impact assessments. | PR11.02: Regulatory Impact Assessments
PR11 | Operational | Regulatory Change and Compliance | Failure to identify, assess and manage regulatory change and ensure that we comply with our legal and regulatory obligations. | PR11.03 | Tax Structure & Practice Optimisation | Scrutiny on tax structures and increased focus on fair tax results in additional claims for tax payments from NTT. | PR11.03: Tax Structure & Practice Optimisation
PR12 | Operational | Corporate Governance and Internal Control | Failure to define, implement, manage and monitor policies, processes and structures that drive long-term shareholder value by building credibility, ensuring transparency and accountability and meeting our reporting and disclosure obligations that foster good corporate performance. | PR12.01 | Finance and Treasury | Failure to optimise and control financial management across GDC EMEA | PR12.01: Finance and Treasury
PR12 | Operational | Corporate Governance and Internal Control | Failure to define, implement, manage and monitor policies, processes and structures that drive long-term shareholder value by building credibility, ensuring transparency and accountability and meeting our reporting and disclosure obligations that foster good corporate performance. | PR12.02 | Mergers, Acquisitions and Disposals | M&A – failure to successfully identify and complete Mergers, Acquisitions and Divestments within GDC EMEA | PR12.02: Mergers, Acquisitions and Disposals
PR12 | Operational | Corporate Governance and Internal Control | Failure to define, implement, manage and monitor policies, processes and structures that drive long-term shareholder value by building credibility, ensuring transparency and accountability and meeting our reporting and disclosure obligations that foster good corporate performance. | PR12.03 | Inconsistent internal regulations & controls, lack of policy and uniformity | Failure to meet external Compliance requirements and regulations | PR12.03: Inconsistent internal regulations & controls, lack of policy and uniformity
PR12 | Operational | Corporate Governance and Internal Control | Failure to define, implement, manage and monitor policies, processes and structures that drive long-term shareholder value by building credibility, ensuring transparency and accountability and meeting our reporting and disclosure obligations that foster good corporate performance. | PR12.04 | Delegation of Authority Compliance | Failure to comply with NTT's Group Authority Matrix. | PR12.04: Delegation of Authority Compliance
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.01 | Project scope | Insufficiently defined project scope and requirements | PR13.01: Project scope
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.02 | Cost management | Cost estimates are inaccurate | PR13.02: Cost management
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.03 | Project changes | Changes affect project goals, stakeholder conflicts during changes | PR13.03: Project changes
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.04 | Schedule management | Schedule estimates are inaccurate | PR13.04: Schedule management
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.05 | Stakeholder | Poor stakeholder management, stakeholder influence project negatively | PR13.05: Stakeholder
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.06 | Communication | Misunderstandings about requirements, goals etc. insufficient communication between departments (internal) or with externals (consultants, contractors etc.) | PR13.06: Communication
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.07 | Resources and project team | Insufficient resource management, missing quantity or quality | PR13.07: Resources and project team
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.08 | Product design | Faulty or uncoordinated design, missing incorporation of laws and standards | PR13.08: Product design
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.09 | Construction Quality | Components or construction are of low quality | PR13.08: Construction Quality
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.10 | Procurement | Received offers do not support the project plan | PR13.10: Procurement
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.11 | Permits and approvals | Delayed approvals from stakeholders lead to conflicts with project goal | PR13.11: Permits and approvals
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.12 | Environment influences | Ground, weather, politics etc. | PR13.12: Environment influences
PR13 | Operational | Project Management | This category covers any kind of projects as IT projects or construction of buildings for new sites or new buildings for existing sites etc.. | PR13.13 | Processes and organization | Insufficient project organization | PR13.13: Processes and organization
Independent Risk

## Risk Matrix OLD (hidden)
Consequence
|  | Insignificant (1) | Minor (2) | Moderate (3) | Major (4) | Extreme (5)
Likelihood | Improbable (1) | LOW (1) Accept the risk. Routine Management | LOW (2) Accept the risk. Routine Management | LOW (3) Accept the risk. Routine Management | MEDIUM (4) Specific country responsibility and actions | MEDIUM (5) Specific country responsibility and actions
| Unlikely (2) | LOW (2) Accept the risk. Routine Management | MEDIUM (4) Specific country responsibility and actions | MEDIUM (6) Specific country responsibility and actions | SIGNIFICANT (8) Specific country responsibility and actions | SIGNIFICANT (10) Monthly country, EMEA & senior management review
| Posible (3) | LOW (3) Accept the risk. Routine Management | MEDIUM (6) Specific country responsibility and actions | SIGNIFICANT (9) Specific country responsibility and actions | SIGNIFICANT (12) Monthly country, EMEA & senior management review | HIGH (15) Monthly country, EMEA & senior management review
| Likely (4) | MEDIUM (4) Specific country responsibility and actions | SIGNIFICANT (8) Specific country responsibility and actions | SIGNIFICANT (12) Monthly country, EMEA & senior management review | HIGH (16) Monthly country, EMEA & senior management review | EXTREME (20) Immediate country, EMEA & senior management review
| Certain (5) | MEDIUM (5) Specific country responsibility and actions | SIGNIFICANT (10) Monthly country, EMEA & senior management review | HIGH (15) Monthly country, EMEA & senior management review | EXTREME (20) Immediate country, EMEA & senior management review | EXTREME (25) Immediate country, EMEA & senior management review | END OF LIFE | Overdue Aborted Maintenance.

## Risk Category (hidden)
Risk Category
BR | Plant Breakdown
EXT | External Influence
DI | Design Issue
CR | Contractor Relationship
SPOF | Single Point of Failure
SN | Snagging or Dilapidation item
PR | Procedure Review
RT | Response Time
NM | Non Maintainable
HSI | Health & Safety Issue
TUR | Technical Upgrade Required
SR | Statutory requirement
LC | Life Cycle
NPOC | Not Part of Contract
OB | Obsolete unable to repair
MAL | Malicious damage potential

## RAG Analysis (hidden)
| all | A | B | AB | C | D | E | F | G | FG | H | I | J | K | S | T | DC1 | DC2
all | [18 empty] | Electrical Power Distribution
all | [18 empty] | Standby Emergency Power
all | [18 empty] | Uninteruptable Power Supply
all | [18 empty] | Critical Cooling Systems
all | [18 empty] | Fire Protection Systems
all | [18 empty] | Life Safety/Security Systems
GER | [18 empty] | Electrical Power Distribution
GER | [18 empty] | Standby Emergency Power
GER | [18 empty] | Uninteruptable Power Supply
GER | [18 empty] | Critical Cooling Systems
GER | [18 empty] | Fire Protection Systems
GER | [18 empty] | Life Safety/Security Systems
DACH | [18 empty] | Electrical Power Distribution
DACH | [18 empty] | Standby Emergency Power
DACH | [18 empty] | Uninteruptable Power Supply
DACH | [18 empty] | Critical Cooling Systems
DACH | [18 empty] | Fire Protection Systems
DACH | [18 empty] | Life Safety/Security Systems
DACHNL | [18 empty] | Electrical Power Distribution
DACHNL | [18 empty] | Standby Emergency Power
DACHNL | [18 empty] | Uninteruptable Power Supply
DACHNL | [18 empty] | Critical Cooling Systems
DACHNL | [18 empty] | Fire Protection Systems
DACHNL | [18 empty] | Life Safety/Security Systems
UK | [18 empty] | Electrical Power Distribution
UK | [18 empty] | Standby Emergency Power
UK | [18 empty] | Uninteruptable Power Supply
UK | [18 empty] | Critical Cooling Systems
UK | [18 empty] | Fire Protection Systems
UK | [18 empty] | Life Safety/Security Systems
AMS1 | [18 empty] | Electrical Power Distribution
AMS1 | [18 empty] | Standby Emergency Power
AMS1 | [18 empty] | Uninteruptable Power Supply
AMS1 | [18 empty] | Critical Cooling Systems
AMS1 | [18 empty] | Fire Protection Systems
AMS1 | [18 empty] | Life Safety/Security Systems
VIE1 | [18 empty] | Electrical Power Distribution
VIE1 | [18 empty] | Standby Emergency Power
VIE1 | [18 empty] | Uninteruptable Power Supply
VIE1 | [18 empty] | Critical Cooling Systems
VIE1 | [18 empty] | Fire Protection Systems
VIE1 | [18 empty] | Life Safety/Security Systems
ZRH1 | [18 empty] | Electrical Power Distribution
ZRH1 | [18 empty] | Standby Emergency Power
ZRH1 | [18 empty] | Uninteruptable Power Supply
ZRH1 | [18 empty] | Critical Cooling Systems
ZRH1 | [18 empty] | Fire Protection Systems
ZRH1 | [18 empty] | Life Safety/Security Systems
MUC1 | [18 empty] | Electrical Power Distribution
MUC1 | [18 empty] | Standby Emergency Power
MUC1 | [18 empty] | Uninteruptable Power Supply
MUC1 | [18 empty] | Critical Cooling Systems
MUC1 | [18 empty] | Fire Protection Systems
MUC1 | [18 empty] | Life Safety/Security Systems
MUC2 | [18 empty] | Electrical Power Distribution
MUC2 | [18 empty] | Standby Emergency Power
MUC2 | [18 empty] | Uninteruptable Power Supply
MUC2 | [18 empty] | Critical Cooling Systems
MUC2 | [18 empty] | Fire Protection Systems
MUC2 | [18 empty] | Life Safety/Security Systems
RHR1 | [18 empty] | Electrical Power Distribution
RHR1 | [18 empty] | Standby Emergency Power
RHR1 | [18 empty] | Uninteruptable Power Supply
RHR1 | [18 empty] | Critical Cooling Systems
RHR1 | [18 empty] | Fire Protection Systems
RHR1 | [18 empty] | Life Safety/Security Systems
HAM1 | [18 empty] | Electrical Power Distribution
HAM1 | [18 empty] | Standby Emergency Power
HAM1 | [18 empty] | Uninteruptable Power Supply
HAM1 | [18 empty] | Critical Cooling Systems
HAM1 | [18 empty] | Fire Protection Systems
HAM1 | [18 empty] | Life Safety/Security Systems
BER1 | [18 empty] | Electrical Power Distribution
BER1 | [18 empty] | Standby Emergency Power
BER1 | [18 empty] | Uninteruptable Power Supply
BER1 | [18 empty] | Critical Cooling Systems
BER1 | [18 empty] | Fire Protection Systems
BER1 | [18 empty] | Life Safety/Security Systems
BER2 | [18 empty] | Electrical Power Distribution
BER2 | [18 empty] | Standby Emergency Power
BER2 | [18 empty] | Uninteruptable Power Supply
BER2 | [18 empty] | Critical Cooling Systems
BER2 | [18 empty] | Fire Protection Systems
BER2 | [18 empty] | Life Safety/Security Systems
FRA1 | [18 empty] | Electrical Power Distribution
FRA1 | [18 empty] | Standby Emergency Power
FRA1 | [18 empty] | Uninteruptable Power Supply
FRA1 | [18 empty] | Critical Cooling Systems
FRA1 | [18 empty] | Fire Protection Systems
FRA1 | [18 empty] | Life Safety/Security Systems
FRA2 | [18 empty] | Electrical Power Distribution
FRA2 | [18 empty] | Standby Emergency Power
FRA2 | [18 empty] | Uninteruptable Power Supply
FRA2 | [18 empty] | Critical Cooling Systems
FRA2 | [18 empty] | Fire Protection Systems
FRA2 | [18 empty] | Life Safety/Security Systems
FRA3 | [18 empty] | Electrical Power Distribution
FRA3 | [18 empty] | Standby Emergency Power
FRA3 | [18 empty] | Uninteruptable Power Supply
FRA3 | [18 empty] | Critical Cooling Systems
FRA3 | [18 empty] | Fire Protection Systems
FRA3 | [18 empty] | Life Safety/Security Systems
FRA4 | [18 empty] | Electrical Power Distribution
FRA4 | [18 empty] | Standby Emergency Power
FRA4 | [18 empty] | Uninteruptable Power Supply
FRA4 | [18 empty] | Critical Cooling Systems
FRA4 | [18 empty] | Fire Protection Systems
FRA4 | [18 empty] | Life Safety/Security Systems
HH1 | [18 empty] | Electrical Power Distribution
HH1 | [18 empty] | Standby Emergency Power
HH1 | [18 empty] | Uninteruptable Power Supply
HH1 | [18 empty] | Critical Cooling Systems
HH1 | [18 empty] | Fire Protection Systems
HH1 | [18 empty] | Life Safety/Security Systems
SL2 | [18 empty] | Electrical Power Distribution
SL2 | [18 empty] | Standby Emergency Power
SL2 | [18 empty] | Uninteruptable Power Supply
SL2 | [18 empty] | Critical Cooling Systems
SL2 | [18 empty] | Fire Protection Systems
SL2 | [18 empty] | Life Safety/Security Systems
SL3 | [18 empty] | Electrical Power Distribution
SL3 | [18 empty] | Standby Emergency Power
SL3 | [18 empty] | Uninteruptable Power Supply
SL3 | [18 empty] | Critical Cooling Systems
SL3 | [18 empty] | Fire Protection Systems
SL3 | [18 empty] | Life Safety/Security Systems
HH2 | [18 empty] | Electrical Power Distribution
HH2 | [18 empty] | Standby Emergency Power
HH2 | [18 empty] | Uninteruptable Power Supply
HH2 | [18 empty] | Critical Cooling Systems
HH2 | [18 empty] | Fire Protection Systems
HH2 | [18 empty] | Life Safety/Security Systems
HH3 | [18 empty] | Electrical Power Distribution
HH3 | [18 empty] | Standby Emergency Power
HH3 | [18 empty] | Uninteruptable Power Supply
HH3 | [18 empty] | Critical Cooling Systems
HH3 | [18 empty] | Fire Protection Systems
HH3 | [18 empty] | Life Safety/Security Systems
LON1 | [18 empty] | Electrical Power Distribution
LON1 | [18 empty] | Standby Emergency Power
LON1 | [18 empty] | Uninteruptable Power Supply
LON1 | [18 empty] | Critical Cooling Systems
LON1 | [18 empty] | Fire Protection Systems
LON1 | [18 empty] | Life Safety/Security Systems
HH4 | [18 empty] | Electrical Power Distribution
HH4 | [18 empty] | Standby Emergency Power
HH4 | [18 empty] | Uninteruptable Power Supply
HH4 | [18 empty] | Critical Cooling Systems
HH4 | [18 empty] | Fire Protection Systems
HH4 | [18 empty] | Life Safety/Security Systems
MAD1 | [18 empty] | Electrical Power Distribution
MAD1 | [18 empty] | Standby Emergency Power
MAD1 | [18 empty] | Uninteruptable Power Supply
MAD1 | [18 empty] | Critical Cooling Systems
MAD1 | [18 empty] | Fire Protection Systems
MAD1 | [18 empty] | Life Safety/Security Systems
JHB1 | [18 empty] | Electrical Power Distribution
JHB1 | [18 empty] | Standby Emergency Power
JHB1 | [18 empty] | Uninteruptable Power Supply
JHB1 | [18 empty] | Critical Cooling Systems
JHB1 | [18 empty] | Fire Protection Systems
JHB1 | [18 empty] | Life Safety/Security Systems

## Backend
Executive Management Ownership | all | all | Yes | Principal Risk Impacted | Sub Risk Impacted | Status | Impact | Probability | Impact:Probability | Rating Inherent |  | Country | Risk category | Mitigation Status | Strength of Mitigation Controls | Strength Of Controls | [8 empty] | Reference |  | Rating Residual | Risk Treatment Strategy | Risk Reach | Risk Trend | Department
Chief Executive Officer | various | A | No | PR01: Erosion of Profit and Operating Margin | PR01.01: Economic Disruption | Identified | Insignificant | Unlikely | Insignificant:Unlikely | Low | Low (1) | All Countries | Financial | Not Started | No Controls in Place | [9 empty] | Insignificant:Unlikely:No Controls in Place | 1 | Low (1) | Treat | Limited risk exposure to operations, services and clients within a single country in region. | Deteriorating | ELT
SVP Finance & Real Estate | AMS1 | B |  | PR02: Cyber Threats (IT Risks) | PR01.02: Cost Base | Accepted | Minor | Less Likely | Insignificant:Less Likely | Low | Low (2) | Austria | Operational | In Planning | Initial/Adhoc Controls in Place | [9 empty] | Insignificant:Less Likely:No Controls in Place | 2 | Low (2) | Transfer | Risk exposure could extend to the operations, services or clients in two or more countries in region. | Essentially Neutral | ELT/L&G
Global Lead for Design | BER1 | AB |  | PR03: Data Privacy and Protection | PR01.03: Increasing Competition | Active | Moderate | Possible | Insignificant:Possible | Low | Low (3) | Germany | Strategic | In Progress | Repeatable/Informal Controls in Place | Impact | Probability | Inherent Score |  | Strength Of Control | Impact | Probability | Residual Score |  | Insignificant:Possible:No Controls in Place | 3 | Low (3) | Terminate |  | Marginally Improving | ELT/L&G/HR
SVP Legal, Governace & Human Resources | BER2 | C |  | PR04: Environmental Management | PR01.04: Loss of a client | Closed | Major | Likely | Insignificant:Likely | Medium | Medium (4) | Netherlands | Compliance | Completed | Defined Controls in Place | Insignificant | Unlikely | 1 | Low | No Controls in Place | Insignificant | Unlikely | 1 | Low | Insignificant:Likely:No Controls in Place | 4 | Medium (4) | Acceptance |  | Substantially Improving | ELT/L&G/Governance
SVP Design, Construction & Operations | FRA1 | D |  | PR05: Fit for Purpose Technology and Infrastructure | PR01.05: Exchange rate | Occured | Extreme | Certain | Insignificant:Certain | Medium | Medium (5) | South Africa |  |  | Managed Controls in Place | Insignificant | Less Likely | 2 | Low | No Controls in Place | Insignificant | Less Likely | 2 | Low | Insignificant:Certain:No Controls in Place | 5 | Medium (5) |  |  | Increasing | ELT/L&G/Legal
VP Sales & Commercial | FRA2 | E |  | PR06: People, Talent and Culture | PR01.06: Non-payment of a client |  |  |  | Minor:Unlikely | Low | Low (2) | Spain |  |  |  | Insignificant | Possible | 3 | Low | No Controls in Place | Insignificant | Possible | 3 | Low | Minor:Unlikely:No Controls in Place | 2 | Low (2) |  |  | Stable | ELT/Commercial
| FRA3 | F |  | PR07: Conduct, Ethics and Integrity | PR01.07: Economic downturn |  |  |  | Minor:Less Likely | Medium | Medium (4) | Switzerland |  |  |  | Insignificant | Likely | 4 | Medium | No Controls in Place | Insignificant | Likely | 4 | Medium | Minor:Less Likely:No Controls in Place | 4 | Medium (4) |  |  | Decreasing | ELT/Finance
| FRA4 | G |  | PR08: Third Party Management | PR01.08: Liquidity risk |  |  |  | Minor:Possible | Medium | Medium (6) | United Kingdom |  |  |  | Insignificant | Certain | 5 | Medium | No Controls in Place | Insignificant | Certain | 5 | Medium | Minor:Possible:No Controls in Place | 6 | Medium (6) |  |  |  | ELT/Tec Ops
| HAM1 | FG |  | PR09: Business Continuity and Disaster Recovery | PR01.09: Taxes |  |  |  | Minor:Likely | Medium | Medium (8) |  |  |  |  | Minor | Unlikely | 2 | Low | No Controls in Place | Minor | Unlikely | 2 | Low | Minor:Likely:No Controls in Place | 8 | Medium (8) |  |  |  | ELT/Tec Ops/Data Center Operations
| HH1 | H |  | PR10: Commercial and Contracting Compliance | PR01.10: Corporate investments |  |  |  | Minor:Certain | Medium | Medium (10) |  |  |  |  | Minor | Less Likely | 4 | Medium | No Controls in Place | Minor | Less Likely | 4 | Medium | Minor:Certain:No Controls in Place | 10 | Medium (10) |  |  |  | ELT/Tec Ops/IT
| HH2 | I |  | PR11: Regulatory Change and Compliance | PR01.11: Interest rates |  |  |  | Moderate:Unlikely | Medium | Medium (3) |  |  |  |  | Minor | Possible | 6 | Medium | No Controls in Place | Minor | Possible | 6 | Medium | Moderate:Unlikely:No Controls in Place | 3 | Medium (3) |  |  |  | ELT/Tec Ops/Security Management
| HH3 | J |  | PR12: Corporate Governance and Internal Control | PR01.12: Increasing raw material prices |  |  |  | Moderate:Less Likely | Medium | Medium (6) |  |  |  |  | Minor | Likely | 8 | Medium | No Controls in Place | Minor | Likely | 8 | Medium | Moderate:Less Likely:No Controls in Place | 6 | Medium (6) |  |  |  | ELT/Tec Ops/HSE
| HH4 | K |  | PR13: Projektmanagement | PR01.13: Depreciation |  |  |  | Moderate:Possible | High | High (9) |  |  |  |  | Minor | Certain | 10 | Medium | No Controls in Place | Minor | Certain | 10 | Medium | Moderate:Possible:No Controls in Place | 9 | High (9) |  |  |  | ELT/Tec Ops/Construction
| JHB1 | S |  | Independent Risk | PR01.14: Political risk |  |  |  | Moderate:Likely | High | High (12) |  |  |  |  | Moderate | Unlikely | 3 | Medium | No Controls in Place | Moderate | Unlikely | 3 | Medium | Moderate:Likely:No Controls in Place | 12 | High (12) |  |  |  | ELT/Tec Ops/Design
| LON1 | T |  |  | PR02.01: Legacy Technology & Systems |  |  |  | Moderate:Certain | Critical | Critical (15) |  |  |  |  | Moderate | Less Likely | 6 | Medium | No Controls in Place | Moderate | Less Likely | 6 | Medium | Moderate:Certain:No Controls in Place | 15 | High (15)
| MAD1 | DC1 |  |  | PR02.02: Threat Modelling |  |  |  | Major:Unlikely | Medium | Medium (4) |  |  |  |  | Moderate | Possible | 9 | High | No Controls in Place | Moderate | Possible | 9 | High | Major:Unlikely:No Controls in Place | 4 | Medium (4)
| MUC1 | DC2 |  |  | PR02.03: Security Visibility Controls |  |  |  | Major:Less Likely | High | High (8) |  |  |  |  | Moderate | Likely | 12 | High | No Controls in Place | Moderate | Likely | 12 | High | Major:Less Likely:No Controls in Place | 8 | High (8)
| MUC2 |  |  |  | PR02.04: Vulnerability Management |  |  |  | Major:Possible | High | High (12) |  |  |  |  | Moderate | Certain | 15 | High | No Controls in Place | Moderate | Certain | 15 | High | Major:Possible:No Controls in Place | 12 | High (12)
| RHR1 |  |  |  | PR02.05: End of Life Systems |  |  |  | Major:Likely | Critical | Critical (16) |  |  |  |  | Major | Unlikely | 4 | Medium | No Controls in Place | Major | Unlikely | 4 | Medium | Major:Likely:No Controls in Place | 16 | Critical (16)
| SL2 |  |  |  | PR02.06: Internet Facing Systems |  |  |  | Major:Certain | Critical | Critical (20) |  |  |  |  | Major | Less Likely | 8 | High | No Controls in Place | Major | Less Likely | 8 | High | Major:Certain:No Controls in Place | 20 | Critical (20)
| SL3 |  |  |  | PR02.07: Malicious Damage/Fraud |  |  |  | Extreme:Unlikely | High | High (5) |  |  |  |  | Major | Possible | 12 | High | No Controls in Place | Major | Possible | 12 | High | Extreme:Unlikely:No Controls in Place | 5 | High (5)
| VIE1 |  |  |  | PR02.08: Theft (Internal/External) |  |  |  | Extreme:Less Likely | High | High (10) |  |  |  |  | Major | Likely | 16 | Critical | No Controls in Place | Major | Likely | 16 | Critical | Extreme:Less Likely:No Controls in Place | 10 | High (10)
| ZRH1 |  |  |  | PR02.09: Unauthorised Access |  |  |  | Extreme:Possible | Critical | Critical (15) |  |  |  |  | Major | Certain | 20 | Critical | No Controls in Place | Major | Certain | 20 | Critical | Extreme:Possible:No Controls in Place | 15 | Critical (15)
[5 empty] | PR02.10: Unable to Access |  |  |  | Extreme:Likely | Critical | Critical (20) |  |  |  |  | Extreme | Unlikely | 5 | High | No Controls in Place | Extreme | Unlikely | 5 | High | Extreme:Likely:No Controls in Place | 20 | Critical (20)
[5 empty] | PR02.11: Accidential Loss/Damage |  |  |  | Extreme:Certain | Critical | Critical (25) |  |  |  |  | Extreme | Less Likely | 10 | High | No Controls in Place | Extreme | Less Likely | 10 | High | Extreme:Certain:No Controls in Place | 25 | Critical (25)
[5 empty] | PR03.01: Visibility of Data Landscape | [10 empty] | Extreme | Possible | 15 | Critical | No Controls in Place | Extreme | Possible | 15 | Critical | Insignificant:Unlikely:Initial/Adhoc Controls in Place | 1 | Low (1)
[5 empty] | PR03.02: Understanding of Data Privacy Regulatory Landscape | [10 empty] | Extreme | Likely | 20 | Critical | No Controls in Place | Extreme | Likely | 20 | Critical | Insignificant:Less Likely:Initial/Adhoc Controls in Place | 2 | Low (2)
[5 empty] | PR03.03: Data Protection & Privacy Impact Assessments | [10 empty] | Extreme | Certain | 25 | Critical | No Controls in Place | Extreme | Certain | 25 | Critical | Insignificant:Possible:Initial/Adhoc Controls in Place | 3 | Low (3)
[5 empty] | PR03.04: Data Protection Commitments | [19 empty] | Insignificant:Likely:Initial/Adhoc Controls in Place | 4 | Medium (4)
[5 empty] | PR04.01: Understanding of Environmental Regulatory Landscape | [10 empty] | Strength Of Control - Initial/Adhoc Controls in Place | [8 empty] | Insignificant:Certain:Initial/Adhoc Controls in Place | 5 | Medium (5)
[5 empty] | PR04.02: Sustainability Strategy | [19 empty] | Minor:Unlikely:Initial/Adhoc Controls in Place | 2 | Low (2)
[5 empty] | PR05.01: Ineffective Product Design | [19 empty] | Minor:Less Likely:Initial/Adhoc Controls in Place | 4 | Medium (4)
[5 empty] | PR05.02: Value Capture | [10 empty] | Impact | Probability | Inherent Score |  | Strength Of Control | Impact | Probability | Residual Score |  | Minor:Possible:Initial/Adhoc Controls in Place | 6 | Medium (6)
[5 empty] | PR05.03: Legacy Technology Platforms & Infrastructure | [10 empty] | Insignificant | Unlikely | 1 | Low | Initial/Adhoc Controls in Place | Insignificant | Unlikely | 1 | Low | Minor:Likely:Initial/Adhoc Controls in Place | 8 | Medium (8)
[5 empty] | PR05.04: Changes in Competitive Landscape | [10 empty] | Insignificant | Less Likely | 2 | Low | Initial/Adhoc Controls in Place | Insignificant | Less Likely | 2 | Low | Minor:Certain:Initial/Adhoc Controls in Place | 10 | Medium (10)
[5 empty] | PR05.05: Natural/Environmental disaster | [10 empty] | Insignificant | Possible | 3 | Low | Initial/Adhoc Controls in Place | Insignificant | Possible | 3 | Low | Moderate:Unlikely:Initial/Adhoc Controls in Place | 3 | Medium (3)
[5 empty] | PR05.06: Terrorism | [10 empty] | Insignificant | Likely | 4 | Medium | Initial/Adhoc Controls in Place | Insignificant | Likely | 4 | Medium | Moderate:Less Likely:Initial/Adhoc Controls in Place | 6 | Medium (6)
[5 empty] | PR05.07: Physical Security | [10 empty] | Insignificant | Certain | 5 | Medium | Initial/Adhoc Controls in Place | Insignificant | Certain | 5 | Medium | Moderate:Possible:Initial/Adhoc Controls in Place | 9 | High (9)
[5 empty] | PR05.08: Maintenance | [10 empty] | Minor | Unlikely | 2 | Low | Initial/Adhoc Controls in Place | Minor | Unlikely | 2 | Low | Moderate:Likely:Initial/Adhoc Controls in Place | 12 | High (12)
[5 empty] | PR05.09: Machine breakdown | [10 empty] | Minor | Less Likely | 4 | Medium | Initial/Adhoc Controls in Place | Minor | Less Likely | 4 | Medium | Moderate:Certain:Initial/Adhoc Controls in Place | 15 | High (15)
[5 empty] | PR05.10: Fire Protection Systems | [10 empty] | Minor | Possible | 6 | Medium | Initial/Adhoc Controls in Place | Minor | Possible | 6 | Medium | Major:Unlikely:Initial/Adhoc Controls in Place | 4 | Medium (4)
[5 empty] | PR05.11: External data center supply (Water/Energy/Data/etc.) | [10 empty] | Minor | Likely | 8 | Medium | Initial/Adhoc Controls in Place | Minor | Likely | 8 | Medium | Major:Less Likely:Initial/Adhoc Controls in Place | 8 | High (8)
[5 empty] | PR05.12: Critical Cooling Systems | [10 empty] | Minor | Certain | 10 | Medium | Initial/Adhoc Controls in Place | Minor | Certain | 10 | Medium | Major:Possible:Initial/Adhoc Controls in Place | 12 | High (12)
[5 empty] | PR05.13: Standby Emergency Power | [10 empty] | Moderate | Unlikely | 3 | Medium | Initial/Adhoc Controls in Place | Moderate | Unlikely | 3 | Medium | Major:Likely:Initial/Adhoc Controls in Place | 16 | Critical (16)
[5 empty] | PR05.14: Uninteruptable Power Supply | [10 empty] | Moderate | Less Likely | 6 | Medium | Initial/Adhoc Controls in Place | Moderate | Less Likely | 6 | Medium | Major:Certain:Initial/Adhoc Controls in Place | 20 | Critical (20)
[5 empty] | PR05.15: Electrical Power Distribution | [10 empty] | Moderate | Possible | 9 | High | Initial/Adhoc Controls in Place | Moderate | Possible | 9 | High | Extreme:Unlikely:Initial/Adhoc Controls in Place | 5 | High (5)
[5 empty] | PR05.16: Life Safety Systems | [10 empty] | Moderate | Likely | 12 | High | Initial/Adhoc Controls in Place | Moderate | Likely | 12 | High | Extreme:Less Likely:Initial/Adhoc Controls in Place | 10 | High (10)
[5 empty] | PR05.17: Building Management System | [10 empty] | Moderate | Certain | 15 | High | Initial/Adhoc Controls in Place | Moderate | Certain | 15 | High | Extreme:Possible:Initial/Adhoc Controls in Place | 15 | Critical (15)
[5 empty] | PR05.18: Environmental contamination | [10 empty] | Major | Unlikely | 4 | Medium | Initial/Adhoc Controls in Place | Major | Unlikely | 4 | Medium | Extreme:Likely:Initial/Adhoc Controls in Place | 20 | Critical (20)
[5 empty] | PR05.19: Danger for health and life | [10 empty] | Major | Less Likely | 8 | High | Initial/Adhoc Controls in Place | Major | Less Likely | 8 | High | Extreme:Certain:Initial/Adhoc Controls in Place | 25 | Critical (25)
[5 empty] | PR06.01: Attraction of Talent | [10 empty] | Major | Possible | 12 | High | Initial/Adhoc Controls in Place | Major | Possible | 12 | High | Insignificant:Unlikely:Repeatable/Informal Controls in Place | 1 | Low (1)
[5 empty] | PR06.02: Retention of Talent | [10 empty] | Major | Likely | 16 | Critical | Initial/Adhoc Controls in Place | Major | Likely | 16 | Critical | Insignificant:Less Likely:Repeatable/Informal Controls in Place | 1 | Low (1)
[5 empty] | PR06.03: Exit of Talent | [10 empty] | Major | Certain | 20 | Critical | Initial/Adhoc Controls in Place | Major | Certain | 20 | Critical | Insignificant:Possible:Repeatable/Informal Controls in Place | 2 | Low (2)
[5 empty] | PR06.04: Physical safety from accidents | [10 empty] | Extreme | Unlikely | 5 | High | Initial/Adhoc Controls in Place | Extreme | Unlikely | 5 | High | Insignificant:Likely:Repeatable/Informal Controls in Place | 3 | Low (3)
[5 empty] | PR06.05: Lack of communication | [10 empty] | Extreme | Less Likely | 10 | High | Initial/Adhoc Controls in Place | Extreme | Less Likely | 10 | High | Insignificant:Certain:Repeatable/Informal Controls in Place | 4 | Medium (4)
[5 empty] | PR07.01: Ethical Business | [10 empty] | Extreme | Possible | 15 | Critical | Initial/Adhoc Controls in Place | Extreme | Possible | 15 | Critical | Minor:Unlikely:Repeatable/Informal Controls in Place | 2 | Low (2)
[5 empty] | PR07.02: Fraudolent behaviour | [10 empty] | Extreme | Likely | 20 | Critical | Initial/Adhoc Controls in Place | Extreme | Likely | 20 | Critical | Minor:Less Likely:Repeatable/Informal Controls in Place | 2 | Low (2)
[5 empty] | PR07.03: Professional Misconduct | [10 empty] | Extreme | Certain | 25 | Critical | Initial/Adhoc Controls in Place | Extreme | Certain | 25 | Critical | Minor:Possible:Repeatable/Informal Controls in Place | 4 | Medium (4)
[5 empty] | PR07.04: Theft | [19 empty] | Minor:Likely:Repeatable/Informal Controls in Place | 6 | Medium (6)
[5 empty] | PR08.01: Strategic Partner Dependencies | [10 empty] | Strength Of Control - Repeatable/Informal Controls in Place | [8 empty] | Minor:Certain:Repeatable/Informal Controls in Place | 8 | Medium (8)
[5 empty] | PR08.02: Management Partner Dependencies | [19 empty] | Moderate:Unlikely:Repeatable/Informal Controls in Place | 3 | Medium (3)
[5 empty] | PR08.03: Third Party Risk | [19 empty] | Moderate:Less Likely:Repeatable/Informal Controls in Place | 3 | Medium (3)
[5 empty] | PR09.01: Business Continuity | [10 empty] | Impact | Probability | Inherent Score |  | Strength Of Control | Impact | Probability | Residual Score |  | Moderate:Possible:Repeatable/Informal Controls in Place | 6 | Medium (6)
[5 empty] | PR09.02: Crisis Management | [10 empty] | Insignificant | Unlikely | 1 | Low | Repeatable/Informal Controls in Place | Insignificant | Unlikely | 1 | Low | Moderate:Likely:Repeatable/Informal Controls in Place | 9 | High (9)
[5 empty] | PR10.01: Contractual Agreement Exposure | [10 empty] | Insignificant | Less Likely | 2 | Low | Repeatable/Informal Controls in Place | Insignificant | Unlikely | 1 | Low | Moderate:Certain:Repeatable/Informal Controls in Place | 12 | High (12)
[5 empty] | PR10.02: Visibility of Commercial Agreements | [10 empty] | Insignificant | Possible | 3 | Low | Repeatable/Informal Controls in Place | Insignificant | Less Likely | 2 | Low | Major:Unlikely:Repeatable/Informal Controls in Place | 4 | Medium (4)
[5 empty] | PR11.01: Understanding of Regulatory Landscape | [10 empty] | Insignificant | Likely | 4 | Medium | Repeatable/Informal Controls in Place | Insignificant | Possible | 3 | Low | Major:Less Likely:Repeatable/Informal Controls in Place | 4 | Medium (4)
[5 empty] | PR11.02: Regulatory Impact Assessments | [10 empty] | Insignificant | Certain | 5 | Medium | Repeatable/Informal Controls in Place | Insignificant | Likely | 4 | Medium | Major:Possible:Repeatable/Informal Controls in Place | 8 | High (8)
[5 empty] | PR11.03: Tax Structure & Practice Optimisation | [10 empty] | Minor | Unlikely | 2 | Low | Repeatable/Informal Controls in Place | Minor | Unlikely | 2 | Low | Major:Likely:Repeatable/Informal Controls in Place | 12 | High (12)
[5 empty] | PR12.01: Finance and Treasury | [10 empty] | Minor | Less Likely | 4 | Medium | Repeatable/Informal Controls in Place | Minor | Unlikely | 2 | Low | Major:Certain:Repeatable/Informal Controls in Place | 16 | Critical (16)
[5 empty] | PR12.02: Mergers, Acquisitions and Disposals | [10 empty] | Minor | Possible | 6 | Medium | Repeatable/Informal Controls in Place | Minor | Less Likely | 4 | Medium | Extreme:Unlikely:Repeatable/Informal Controls in Place | 5 | High (5)
[5 empty] | PR12.03: Inconsistent internal regulations & controls, lack of policy and uniformity | [10 empty] | Minor | Likely | 8 | Medium | Repeatable/Informal Controls in Place | Minor | Possible | 6 | Medium | Extreme:Less Likely:Repeatable/Informal Controls in Place | 5 | High (5)
[5 empty] | PR12.04: Delegation of Authority Compliance | [10 empty] | Minor | Certain | 10 | Medium | Repeatable/Informal Controls in Place | Minor | Likely | 8 | Medium | Extreme:Possible:Repeatable/Informal Controls in Place | 10 | High (10)
[5 empty] | PR13.01: Project scope | [10 empty] | Moderate | Unlikely | 3 | Medium | Repeatable/Informal Controls in Place | Moderate | Unlikely | 3 | Medium | Extreme:Likely:Repeatable/Informal Controls in Place | 15 | Critical (15)
[5 empty] | PR13.02: Cost management | [10 empty] | Moderate | Less Likely | 6 | Medium | Repeatable/Informal Controls in Place | Moderate | Unlikely | 3 | Medium | Extreme:Certain:Repeatable/Informal Controls in Place | 20 | Critical (20)
[5 empty] | PR13.03: Project changes | [10 empty] | Moderate | Possible | 9 | High | Repeatable/Informal Controls in Place | Moderate | Less Likely | 6 | Medium | Insignificant:Unlikely:Defined Controls in Place | 1 | Low (1)
[5 empty] | PR13.04: Schedule management | [10 empty] | Moderate | Likely | 12 | High | Repeatable/Informal Controls in Place | Moderate | Possible | 9 | High | Insignificant:Less Likely:Defined Controls in Place | 1 | Low (1)
[5 empty] | PR13.05: Stakeholder | [10 empty] | Moderate | Certain | 15 | High | Repeatable/Informal Controls in Place | Moderate | Likely | 12 | High | Insignificant:Possible:Defined Controls in Place | 2 | Low (2)
[5 empty] | PR13.06: Communication | [10 empty] | Major | Unlikely | 4 | Medium | Repeatable/Informal Controls in Place | Major | Unlikely | 4 | Medium | Insignificant:Likely:Defined Controls in Place | 3 | Low (3)
[5 empty] | PR13.07: Resources and project team | [10 empty] | Major | Less Likely | 8 | High | Repeatable/Informal Controls in Place | Major | Unlikely | 4 | Medium | Insignificant:Certain:Defined Controls in Place | 4 | Medium (4)
[5 empty] | PR13.08: Product design | [10 empty] | Major | Possible | 12 | High | Repeatable/Informal Controls in Place | Major | Less Likely | 8 | High | Minor:Unlikely:Defined Controls in Place | 1 | Low (1)
[5 empty] | PR13.08: Construction Quality | [10 empty] | Major | Likely | 16 | Critical | Repeatable/Informal Controls in Place | Major | Possible | 12 | High | Minor:Less Likely:Defined Controls in Place | 1 | Low (1)
[5 empty] | PR13.10: Procurement | [10 empty] | Major | Certain | 20 | Critical | Repeatable/Informal Controls in Place | Major | Likely | 16 | Critical | Minor:Possible:Defined Controls in Place | 2 | Low (2)
[5 empty] | PR13.11: Permits and approvals | [10 empty] | Extreme | Unlikely | 5 | High | Repeatable/Informal Controls in Place | Extreme | Unlikely | 5 | High | Minor:Likely:Defined Controls in Place | 3 | Low (3)
[5 empty] | PR13.12: Environment influences | [10 empty] | Extreme | Less Likely | 10 | High | Repeatable/Informal Controls in Place | Extreme | Unlikely | 5 | High | Minor:Certain:Defined Controls in Place | 4 | Medium (4)
[5 empty] | PR13.13: Processes and organization | [10 empty] | Extreme | Possible | 15 | Critical | Repeatable/Informal Controls in Place | Extreme | Less Likely | 10 | High | Moderate:Unlikely:Defined Controls in Place | 2 | Low (2)
[16 empty] | Extreme | Likely | 20 | Critical | Repeatable/Informal Controls in Place | Extreme | Possible | 15 | Critical | Moderate:Less Likely:Defined Controls in Place | 2 | Low (2)
[16 empty] | Extreme | Certain | 25 | Critical | Repeatable/Informal Controls in Place | Extreme | Likely | 20 | Critical | Moderate:Possible:Defined Controls in Place | 4 | Medium (4)
[25 empty] | Moderate:Likely:Defined Controls in Place | 6 | Medium (6)
[16 empty] | Strength Of Control - Sufficient Controls Identified Defined Controls in Place | [8 empty] | Moderate:Certain:Defined Controls in Place | 8 | Medium (8)
[25 empty] | Major:Unlikely:Defined Controls in Place | 3 | Medium (3)
[25 empty] | Major:Less Likely:Defined Controls in Place | 3 | Medium (3)
[16 empty] | Impact | Probability | Inherent Score |  | Strength Of Control | Impact | Probability | Residual Score |  | Major:Possible:Defined Controls in Place | 6 | Medium (6)
[16 empty] | Insignificant | Unlikely | 1 | Low | Defined Controls in Place | Insignificant | Unlikely | 1 | Low | Major:Likely:Defined Controls in Place | 9 | High (9)
[16 empty] | Insignificant | Less Likely | 2 | Low | Defined Controls in Place | Insignificant | Unlikely | 1 | Low | Major:Certain:Defined Controls in Place | 12 | High (12)
[16 empty] | Insignificant | Possible | 3 | Low | Defined Controls in Place | Insignificant | Less Likely | 2 | Low | Extreme:Unlikely:Defined Controls in Place | 4 | Medium (4)
[16 empty] | Insignificant | Likely | 4 | Medium | Defined Controls in Place | Insignificant | Possible | 3 | Low | Extreme:Less Likely:Defined Controls in Place | 4 | Medium (4)
[16 empty] | Insignificant | Certain | 5 | Medium | Defined Controls in Place | Insignificant | Likely | 4 | Medium | Extreme:Possible:Defined Controls in Place | 8 | High (8)
[16 empty] | Minor | Unlikely | 2 | Low | Defined Controls in Place | Insignificant | Unlikely | 1 | Low | Extreme:Likely:Defined Controls in Place | 12 | High (12)
[16 empty] | Minor | Less Likely | 4 | Medium | Defined Controls in Place | Insignificant | Unlikely | 1 | Low | Extreme:Certain:Defined Controls in Place | 16 | Critical (16)
[16 empty] | Minor | Possible | 6 | Medium | Defined Controls in Place | Insignificant | Less Likely | 2 | Low | Insignificant:Unlikely:Managed Controls in Place | 1 | Low (1)
[16 empty] | Minor | Likely | 8 | Medium | Defined Controls in Place | Insignificant | Possible | 3 | Low | Insignificant:Less Likely:Managed Controls in Place | 1 | Low (1)
[16 empty] | Minor | Certain | 10 | Medium | Defined Controls in Place | Insignificant | Likely | 4 | Medium | Insignificant:Possible:Managed Controls in Place | 1 | Low (1)
[16 empty] | Moderate | Unlikely | 3 | Medium | Defined Controls in Place | Minor | Unlikely | 2 | Low | Insignificant:Likely:Managed Controls in Place | 2 | Low (2)
[16 empty] | Moderate | Less Likely | 6 | Medium | Defined Controls in Place | Minor | Unlikely | 2 | Low | Insignificant:Certain:Managed Controls in Place | 3 | Low (3)
[16 empty] | Moderate | Possible | 9 | High | Defined Controls in Place | Minor | Less Likely | 4 | Medium | Minor:Unlikely:Managed Controls in Place | 1 | Low (1)
[16 empty] | Moderate | Likely | 12 | High | Defined Controls in Place | Minor | Possible | 6 | Medium | Minor:Less Likely:Managed Controls in Place | 1 | Low (1)
[16 empty] | Moderate | Certain | 15 | High | Defined Controls in Place | Minor | Likely | 8 | Medium | Minor:Possible:Managed Controls in Place | 1 | Low (1)
[16 empty] | Major | Unlikely | 4 | Medium | Defined Controls in Place | Moderate | Unlikely | 3 | Medium | Minor:Likely:Managed Controls in Place | 2 | Low (2)
[16 empty] | Major | Less Likely | 8 | High | Defined Controls in Place | Moderate | Unlikely | 3 | Medium | Minor:Certain:Managed Controls in Place | 3 | Low (3)
[16 empty] | Major | Possible | 12 | High | Defined Controls in Place | Moderate | Less Likely | 6 | Medium | Moderate:Unlikely:Managed Controls in Place | 1 | Low (1)
[16 empty] | Major | Likely | 16 | Critical | Defined Controls in Place | Moderate | Possible | 9 | High | Moderate:Less Likely:Managed Controls in Place | 1 | Low (1)
[16 empty] | Major | Certain | 20 | Critical | Defined Controls in Place | Moderate | Likely | 12 | High | Moderate:Possible:Managed Controls in Place | 1 | Low (1)
[16 empty] | Extreme | Unlikely | 5 | High | Defined Controls in Place | Major | Unlikely | 4 | Medium | Moderate:Likely:Managed Controls in Place | 2 | Low (2)
[16 empty] | Extreme | Less Likely | 10 | High | Defined Controls in Place | Major | Unlikely | 4 | Medium | Moderate:Certain:Managed Controls in Place | 3 | Low (3)
[16 empty] | Extreme | Possible | 15 | Critical | Defined Controls in Place | Major | Less Likely | 8 | High | Major:Unlikely:Managed Controls in Place | 2 | Low (2)
[16 empty] | Extreme | Likely | 20 | Critical | Defined Controls in Place | Major | Possible | 12 | High | Major:Less Likely:Managed Controls in Place | 2 | Low (2)
[16 empty] | Extreme | Certain | 25 | Critical | Defined Controls in Place | Major | Likely | 16 | Critical | Major:Possible:Managed Controls in Place | 2 | Low (2)
[25 empty] | Major:Likely:Managed Controls in Place | 4 | Medium (4)
[16 empty] | Strength Of Control - Strong Control Environment Managed Controls in Place | [8 empty] | Major:Certain:Managed Controls in Place | 6 | Medium (6)
[25 empty] | Extreme:Unlikely:Managed Controls in Place | 3 | Medium (3)
[25 empty] | Extreme:Less Likely:Managed Controls in Place | 3 | Medium (3)
[16 empty] | Impact | Likelihood | Inherent Score |  | Strength Of Control | Impact | Likelihood | Residual Score |  | Extreme:Possible:Managed Controls in Place | 3 | Medium (3)
[16 empty] | Insignificant | Unlikely | 1 | Low | Managed Controls in Place | Insignificant | Unlikely | 1 | Low | Extreme:Likely:Managed Controls in Place | 6 | Medium (6)
[16 empty] | Insignificant | Less Likely | 2 | Low | Managed Controls in Place | Insignificant | Unlikely | 1 | Low | Extreme:Certain:Managed Controls in Place | 9 | High (9)
[16 empty] | Insignificant | Possible | 3 | Low | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Insignificant | Likely | 4 | Medium | Managed Controls in Place | Insignificant | Less Likely | 2 | Low
[16 empty] | Insignificant | Certain | 5 | Medium | Managed Controls in Place | Insignificant | Possible | 3 | Low
[16 empty] | Minor | Unlikely | 2 | Low | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Minor | Less Likely | 4 | Medium | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Minor | Possible | 6 | Medium | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Minor | Likely | 8 | Medium | Managed Controls in Place | Insignificant | Less Likely | 2 | Low
[16 empty] | Minor | Certain | 10 | Medium | Managed Controls in Place | Insignificant | Possible | 3 | Low
[16 empty] | Moderate | Unlikely | 3 | Medium | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Moderate | Less Likely | 6 | Medium | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Moderate | Possible | 9 | High | Managed Controls in Place | Insignificant | Unlikely | 1 | Low
[16 empty] | Moderate | Likely | 12 | High | Managed Controls in Place | Insignificant | Less Likely | 2 | Low
[16 empty] | Moderate | Certain | 15 | High | Managed Controls in Place | Insignificant | Possible | 3 | Low
[16 empty] | Major | Unlikely | 4 | Medium | Managed Controls in Place | Minor | Unlikely | 2 | Low
[16 empty] | Major | Less Likely | 8 | High | Managed Controls in Place | Minor | Unlikely | 2 | Low
[16 empty] | Major | Possible | 12 | High | Managed Controls in Place | Minor | Unlikely | 2 | Low
[16 empty] | Major | Likely | 16 | Critical | Managed Controls in Place | Minor | Less Likely | 4 | Medium
[16 empty] | Major | Certain | 20 | Critical | Managed Controls in Place | Minor | Possible | 6 | Medium
[16 empty] | Extreme | Unlikely | 5 | High | Managed Controls in Place | Moderate | Unlikely | 3 | Medium
[16 empty] | Extreme | Less Likely | 10 | High | Managed Controls in Place | Moderate | Unlikely | 3 | Medium
[16 empty] | Extreme | Possible | 15 | Critical | Managed Controls in Place | Moderate | Unlikely | 3 | Medium
[16 empty] | Extreme | Likely | 20 | Critical | Managed Controls in Place | Moderate | Unlikely | 6 | Medium
[16 empty] | Extreme | Certain | 25 | Critical | Managed Controls in Place | Moderate | Possible | 9 | High

## Backend Impact
impact_txt | Impact_rating
Insignificant | 1
Minor | 2
Moderate | 3
Major | 4
Extreme | 5

## Backend Probability
probability_txt | probability_rating
Unlikely | 1
Less Likely | 2
Possible | 3
Likely | 4
Certain | 5

## Backend Strength of Control
strength_of_control_txt | strength_of_control_rating
No Controls in Place | 1
Initial/Adhoc Controls in Place | 2
Repeatable/Informal Controls in Place | 3
Defined Controls in Place | 4
Managed Controls in Place | 5

## Backend Residual Risk
impact_probability_control | residual_risk_rating | residual_risk_txt_rating
Insignificant:Unlikely:No Controls in Place | 1 | Low (1)
Insignificant:Less Likely:No Controls in Place | 2 | Low (2)
Insignificant:Possible:No Controls in Place | 3 | Low (3)
Insignificant:Likely:No Controls in Place | 4 | Medium (4)
Insignificant:Certain:No Controls in Place | 5 | Medium (5)
Minor:Unlikely:No Controls in Place | 2 | Low (2)
Minor:Less Likely:No Controls in Place | 4 | Medium (4)
Minor:Possible:No Controls in Place | 6 | Medium (6)
Minor:Likely:No Controls in Place | 8 | Medium (8)
Minor:Certain:No Controls in Place | 10 | Medium (10)
Moderate:Unlikely:No Controls in Place | 3 | Medium (3)
Moderate:Less Likely:No Controls in Place | 6 | Medium (6)
Moderate:Possible:No Controls in Place | 9 | High (9)
Moderate:Likely:No Controls in Place | 12 | High (12)
Moderate:Certain:No Controls in Place | 15 | High (15)
Major:Unlikely:No Controls in Place | 4 | Medium (4)
Major:Less Likely:No Controls in Place | 8 | High (8)
Major:Possible:No Controls in Place | 12 | High (12)
Major:Likely:No Controls in Place | 16 | Critical (16)
Major:Certain:No Controls in Place | 20 | Critical (20)
Extreme:Unlikely:No Controls in Place | 5 | High (5)
Extreme:Less Likely:No Controls in Place | 10 | High (10)
Extreme:Possible:No Controls in Place | 15 | Critical (15)
Extreme:Likely:No Controls in Place | 20 | Critical (20)
Extreme:Certain:No Controls in Place | 25 | Critical (25)
Insignificant:Unlikely:Initial/Adhoc Controls in Place | 1 | Low (1)
Insignificant:Less Likely:Initial/Adhoc Controls in Place | 2 | Low (2)
Insignificant:Possible:Initial/Adhoc Controls in Place | 3 | Low (3)
Insignificant:Likely:Initial/Adhoc Controls in Place | 4 | Medium (4)
Insignificant:Certain:Initial/Adhoc Controls in Place | 5 | Medium (5)
Minor:Unlikely:Initial/Adhoc Controls in Place | 2 | Low (2)
Minor:Less Likely:Initial/Adhoc Controls in Place | 4 | Medium (4)
Minor:Possible:Initial/Adhoc Controls in Place | 6 | Medium (6)
Minor:Likely:Initial/Adhoc Controls in Place | 8 | Medium (8)
Minor:Certain:Initial/Adhoc Controls in Place | 10 | Medium (10)
Moderate:Unlikely:Initial/Adhoc Controls in Place | 3 | Medium (3)
Moderate:Less Likely:Initial/Adhoc Controls in Place | 6 | Medium (6)
Moderate:Possible:Initial/Adhoc Controls in Place | 9 | High (9)
Moderate:Likely:Initial/Adhoc Controls in Place | 12 | High (12)
Moderate:Certain:Initial/Adhoc Controls in Place | 15 | High (15)
Major:Unlikely:Initial/Adhoc Controls in Place | 4 | Medium (4)
Major:Less Likely:Initial/Adhoc Controls in Place | 8 | High (8)
Major:Possible:Initial/Adhoc Controls in Place | 12 | High (12)
Major:Likely:Initial/Adhoc Controls in Place | 16 | Critical (16)
Major:Certain:Initial/Adhoc Controls in Place | 20 | Critical (20)
Extreme:Unlikely:Initial/Adhoc Controls in Place | 5 | High (5)
Extreme:Less Likely:Initial/Adhoc Controls in Place | 10 | High (10)
Extreme:Possible:Initial/Adhoc Controls in Place | 15 | Critical (15)
Extreme:Likely:Initial/Adhoc Controls in Place | 20 | Critical (20)
Extreme:Certain:Initial/Adhoc Controls in Place | 25 | Critical (25)
Insignificant:Unlikely:Repeatable/Informal Controls in Place | 1 | Low (1)
Insignificant:Less Likely:Repeatable/Informal Controls in Place | 1 | Low (1)
Insignificant:Possible:Repeatable/Informal Controls in Place | 2 | Low (2)
Insignificant:Likely:Repeatable/Informal Controls in Place | 3 | Low (3)
Insignificant:Certain:Repeatable/Informal Controls in Place | 4 | Medium (4)
Minor:Unlikely:Repeatable/Informal Controls in Place | 2 | Low (2)
Minor:Less Likely:Repeatable/Informal Controls in Place | 2 | Low (2)
Minor:Possible:Repeatable/Informal Controls in Place | 4 | Medium (4)
Minor:Likely:Repeatable/Informal Controls in Place | 6 | Medium (6)
Minor:Certain:Repeatable/Informal Controls in Place | 8 | Medium (8)
Moderate:Unlikely:Repeatable/Informal Controls in Place | 3 | Medium (3)
Moderate:Less Likely:Repeatable/Informal Controls in Place | 3 | Medium (3)
Moderate:Possible:Repeatable/Informal Controls in Place | 6 | Medium (6)
Moderate:Likely:Repeatable/Informal Controls in Place | 9 | High (9)
Moderate:Certain:Repeatable/Informal Controls in Place | 12 | High (12)
Major:Unlikely:Repeatable/Informal Controls in Place | 4 | Medium (4)
Major:Less Likely:Repeatable/Informal Controls in Place | 4 | Medium (4)
Major:Possible:Repeatable/Informal Controls in Place | 8 | High (8)
Major:Likely:Repeatable/Informal Controls in Place | 12 | High (12)
Major:Certain:Repeatable/Informal Controls in Place | 16 | Critical (16)
Extreme:Unlikely:Repeatable/Informal Controls in Place | 5 | High (5)
Extreme:Less Likely:Repeatable/Informal Controls in Place | 5 | High (5)
Extreme:Possible:Repeatable/Informal Controls in Place | 10 | High (10)
Extreme:Likely:Repeatable/Informal Controls in Place | 15 | Critical (15)
Extreme:Certain:Repeatable/Informal Controls in Place | 20 | Critical (20)
Insignificant:Unlikely:Defined Controls in Place | 1 | Low (1)
Insignificant:Less Likely:Defined Controls in Place | 1 | Low (1)
Insignificant:Possible:Defined Controls in Place | 2 | Low (2)
Insignificant:Likely:Defined Controls in Place | 3 | Low (3)
Insignificant:Certain:Defined Controls in Place | 4 | Medium (4)
Minor:Unlikely:Defined Controls in Place | 1 | Low (1)
Minor:Less Likely:Defined Controls in Place | 1 | Low (1)
Minor:Possible:Defined Controls in Place | 2 | Low (2)
Minor:Likely:Defined Controls in Place | 3 | Low (3)
Minor:Certain:Defined Controls in Place | 4 | Medium (4)
Moderate:Unlikely:Defined Controls in Place | 2 | Low (2)
Moderate:Less Likely:Defined Controls in Place | 2 | Low (2)
Moderate:Possible:Defined Controls in Place | 4 | Medium (4)
Moderate:Likely:Defined Controls in Place | 6 | Medium (6)
Moderate:Certain:Defined Controls in Place | 8 | Medium (8)
Major:Unlikely:Defined Controls in Place | 3 | Medium (3)
Major:Less Likely:Defined Controls in Place | 3 | Medium (3)
Major:Possible:Defined Controls in Place | 6 | Medium (6)
Major:Likely:Defined Controls in Place | 9 | High (9)
Major:Certain:Defined Controls in Place | 12 | High (12)
Extreme:Unlikely:Defined Controls in Place | 4 | Medium (4)
Extreme:Less Likely:Defined Controls in Place | 4 | Medium (4)
Extreme:Possible:Defined Controls in Place | 8 | High (8)
Extreme:Likely:Defined Controls in Place | 12 | High (12)
Extreme:Certain:Defined Controls in Place | 16 | Critical (16)
Insignificant:Unlikely:Managed Controls in Place | 1 | Low (1)
Insignificant:Less Likely:Managed Controls in Place | 1 | Low (1)
Insignificant:Possible:Managed Controls in Place | 1 | Low (1)
Insignificant:Likely:Managed Controls in Place | 2 | Low (2)
Insignificant:Certain:Managed Controls in Place | 3 | Low (3)
Minor:Unlikely:Managed Controls in Place | 1 | Low (1)
Minor:Less Likely:Managed Controls in Place | 1 | Low (1)
Minor:Possible:Managed Controls in Place | 1 | Low (1)
Minor:Likely:Managed Controls in Place | 2 | Low (2)
Minor:Certain:Managed Controls in Place | 3 | Low (3)
Moderate:Unlikely:Managed Controls in Place | 1 | Low (1)
Moderate:Less Likely:Managed Controls in Place | 1 | Low (1)
Moderate:Possible:Managed Controls in Place | 1 | Low (1)
Moderate:Likely:Managed Controls in Place | 2 | Low (2)
Moderate:Certain:Managed Controls in Place | 3 | Low (3)
Major:Unlikely:Managed Controls in Place | 2 | Low (2)
Major:Less Likely:Managed Controls in Place | 2 | Low (2)
Major:Possible:Managed Controls in Place | 2 | Low (2)
Major:Likely:Managed Controls in Place | 4 | Medium (4)
Major:Certain:Managed Controls in Place | 6 | Medium (6)
Extreme:Unlikely:Managed Controls in Place | 3 | Medium (3)
Extreme:Less Likely:Managed Controls in Place | 3 | Medium (3)
Extreme:Possible:Managed Controls in Place | 3 | Medium (3)
Extreme:Likely:Managed Controls in Place | 6 | Medium (6)
Extreme:Certain:Managed Controls in Place | 9 | High (9)